## BSD Asbestos Reinsp 7-5-23
Date Inspected | School | Location | Material | Detailed Description | Notes | Friable (F) Non-Friable (NF) | Category Surfacing (S) Thermal (TSI) Misc (M) | Condition Good (G) Damaged (D) | Damage Potential Low (L) Moderate (M) High (H) | Area of material (sq ft) | CH/NC
2023-07-05 | Elementary | Throughout | Tape joint compound | Walls, ceilings |  | F | M | D > 10% | L | >10K
2023-07-05 | Elementary | Throughout | Textured plaster | Walls |  | F | S | D > 10% | L | >10K
2023-07-05 | Elementary | Throughout | Moulding mastics | Cove base mast | Water dam | NF | M | D > 10% | L | >10K
2023-07-05 | Elementary | Throughout | Vinyl tile-12" | Flooring | Water dam | NF | M | D > 10% | M | >10K
2023-07-05 | Elementary | Throughout | Ceiling tile-9" | Mastic |  | NF | M | G | L | >10K
2023-07-05 | Admin Bldg | Throughout | Tape joint compound | Walls, ceilings |  | F | M | D > 10% | L | >10K
2023-07-05 | Admin Bldg | Throughout | Textured plaster | Walls |  | F | S | D > 10% | L | >10K
2023-07-05 | Admin Bldg | Throughout | Moulding mastics | Cove base mastic | Water dam | NF | M | D > 10% | L | >10K
2023-07-05 | Admin Bldg | Throughout | Vinyl tile-12" | Flooring, mastic | Water dam | NF | M | D > 10% | L | >10K
2023-07-05 | Admin Bldg | Throughout | Ceiling tile-9" | Mastic |  | NF | M | D > 10% | L | >10K
2023-07-05 | High School | Boiler Room | Insulation wrap | TSI |  | F | TSI | G | H | >1K
2023-07-05 | High School | Boiler Room | Pipe insulation | TSI |  | NF | TSI | G | H | >1K
2023-07-05 | High School | Classrooms | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Hallways | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Gymnasium | Acoustic ceiling ties-9" | No mastic |  | F | M | D > 10% | M | >10K
2023-07-05 | High School | Classrooms | Vinyl tile-9" red | Flooring, mastic |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Classrooms | Vinyl tile- 9" green | Flooring, mastic |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Classrooms | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Throughout | Ceiling tiles | Ceiling tiles, mastic |  | F, NF | M | D > 10% | M | <10K
2023-07-05 | High School | Vocational | Texture, drywall | Walls |  | F | S | D > 10% | M | >10K
2023-07-05 | High School | Hallways | Vinyl tile-9" tan | Flooring |  | NF | M | D > 10% | M | >10K
2023-07-05 | High School | Throughout | Cove base, mastic | Flooring |  | NF | M | D > 10% | L | >10K
2023-07-05 | Middle School | No ACBM or suspect ACBM present in this building

## BSD Asbestos Reinsp 4-12-24
Date Inspected | School | Location | Material | Detailed Description | Notes | Friable (F) Non-Friable (NF) | Category Surfacing (S) Thermal (TSI) Misc (M) | Condition Good (G) Damaged (D) | Damage Potential Low (L) Moderate (M) High (H) | Area of material (sq ft) | CH/NC
2024-04-12 | Elementary | Throughout | Tape joint compound | Walls, ceilings |  | F | M | D > 10% | L | >10K | NC
2024-04-12 | Elementary | Throughout | Textured plaster | Walls |  | F | S | D > 10% | L | >10K | NC
2024-04-12 | Elementary | Throughout | Moulding mastics | Cove base mast | Water dam | NF | M | D > 10% | L | >10K | NC
2024-04-12 | Elementary | Throughout | Vinyl tile-12" | Flooring | Water dam | NF | M | D > 10% | M | >10K | NC
2024-04-12 | Elementary | Throughout | Ceiling tile-9" | Mastic |  | NF | M | G | L | >10K | NC
2024-04-12 | Admin Bldg | Throughout | Tape joint compound | Walls, ceilings | Water dam | F | M | D > 10% | L | >10K | CH
2024-04-12 | Admin Bldg | Throughout | Textured plaster | Walls |  | F | S | D > 10% | L | >10K
2024-04-12 | Admin Bldg | Throughout | Moulding mastics | Cove base mastic | Water dam | NF | M | D > 10% | L | >10K | CH
2024-04-12 | Admin Bldg | Throughout | Vinyl tile-12" | Flooring, mastic | Water dam | NF | M | D > 10% | L | >10K | CH
2024-04-12 | Admin Bldg | Throughout | Ceiling tile-9" | Mastic |  | NF | M | D > 10% | L | >10K | NC
2024-04-12 | High School | Boiler Room | Insulation wrap | TSI |  | F | TSI | G | H | >1K | NC
2024-04-12 | High School | Boiler Room | Pipe insulation | TSI |  | NF | TSI | G | H | >1K | NC
2024-04-12 | High School | Classrooms | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Hallways | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Gymnasium | Acoustic ceiling ties-9" | No mastic |  | F | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Classrooms | Vinyl tile-9" red | Flooring, mastic |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Classrooms | Vinyl tile- 9" green | Flooring, mastic |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Classrooms | Vinyl tile-9" tan | Flooring, mastic |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Throughout | Ceiling tiles | Ceil tiles, mastic |  | F, NF | M | D > 10% | M | <10K | NC
2024-04-12 | High School | Vocational | Texture, drywall | Walls |  | F | S | D > 10% | M | >10K | NC
2024-04-12 | High School | Hallways | Vinyl tile-9" tan | Flooring |  | NF | M | D > 10% | M | >10K | NC
2024-04-12 | High School | Throughout | Cove base, mastic | Flooring |  | NF | M | D > 10% | L | >10K | NC
2024-04-12 | Middle School | No ACBM or suspect ACBM present in this building