## Elementary School
Radon Testing Results - |  | Banks Elementary School
Action Level is 4.0 pCi/L
Site Name | Building Name | Room Description (per floor plan) | Kit serial # | Date sampled | Type of test | Results (pCi/L)
Banks Elementary School | Main building | Rm 104 | 507536 | 2022-12-05 | Detector Kit | 1.2
Banks Elementary School | Main building | Rm 105 | 507487 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Rm 106 | 507634 | 2022-12-05 | Detector Kit | 1.6
Banks Elementary School | Main building | Rm 107 | 507632 | 2022-12-05 | Detector Kit | 1.4
Banks Elementary School | Main building | Rm 108 | 509052 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Rm 108 | 507484 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Library N | 507533 | 2022-12-05 | Detector Kit | 1
Banks Elementary School | Main building | Library S | 507430 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Library Work Area | 507550 | 2022-12-05 | Detector Kit | 0.8
Banks Elementary School | Main building | Library Office | 507636 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Library Office (Dup) | 507489 | 2022-12-05 | Duplicate | 1.2
Banks Elementary School | Main building | Library CC Rm | 507519 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Rm 110 | 507639 | 2022-12-05 | Detector Kit | Void
Banks Elementary School | Main building | Rm 111 | 506539 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Rm 112 | 507419 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Rm 101 | 507558 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Rm 102 | 507488 | 2022-12-05 | Detector Kit | 1.2
Banks Elementary School | Main building | Rm 103 | 507522 | 2022-12-05 | Detector Kit | 0.3
Banks Elementary School | Main building | Rm 152 | 507534 | 2022-12-05 | Detector Kit | 0.3
Banks Elementary School | Main building | Rm 153 | 507538 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Rm 151 | 507507 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Rm 151 (Dup) | 507543 | 2022-12-05 | Duplicate | 0.7
Banks Elementary School | Main building | Rm 150 | 507548 | 2022-12-05 | Detector Kit | 0.8
Banks Elementary School | Main building | Office 156 | 507500 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Rm 157 | 509053 | 2022-12-05 | Detector Kit | 1.1
Banks Elementary School | Main building | Rm 158 | 507418 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Rm 159 | 507486 | 2022-12-05 | Detector Kit | 0.9
Banks Elementary School | Main building | Rm 155 | 507506 | 2022-12-05 | Detector Kit | 1
Banks Elementary School | Main building | Office Lobby | 507514 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Rm 163 | 507510 | 2022-12-05 | Detector Kit | 0.4
Banks Elementary School | Main building | Rm 162 | 507498 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Rm 161 | 507638 | 2022-12-05 | Detector Kit | 0.5
Banks Elementary School | Main building | Rm 161 (Dup) | 507490 | 2022-12-05 | Duplicate | 1
Banks Elementary School | Main building | Rm 154 | 507557 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Rm 177 music | 507537 | 2022-12-05 | Detector Kit | 1.1
Banks Elementary School | Main building | Cafeteria 1 | 507497 | 2022-12-05 | Detector Kit | Void
Banks Elementary School | Main building | Cafeteria 2 | 507511 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Gymnasium | PE Office | 507524 | 2022-12-05 | Detector Kit | 0.8
Banks Elementary School | Gymnasium | Gym L | 507481 | 2022-12-05 | Detector Kit | 0.3
Banks Elementary School | Gymnasium | Gym R | 507526 | 2022-12-05 | Detector Kit | 0.7
Banks Elementary School | Main building | Cafeteria Office | 507554 | 2022-12-05 | Detector Kit | 1
Banks Elementary School | Main building | Kitchen Office | 507635 | 2022-12-05 | Detector Kit | 0.6
Banks Elementary School | Main building | Blank | 517711 | 2022-12-05 | Blank | -0.2
Banks Elementary School | Main building | Blank | 517679 | 2022-12-05 | Blank | 0.2
Banks Elementary School | Main building | Office 101 | 507432 | 2022-12-05 | Spike | 45.3 (Spike)
Banks Elementary School | Main building | Office 102 | 507543 | 2022-12-05 | Spike | 40.4 (Spike)
Banks Elementary School | Main building | Rm 110 | 507492 | 2022-12-05 | Retest | 0
Banks Elementary School | Main building | Cafeteria 1 | 517821 | 2022-12-05 | Retest | 0.1

## Middle School
Radon Testing Results - |  | Banks Middle School
Action Level is 4.0 pCi/L
Site Name | Building Name | Room Description (per floor plan) | Kit serial # | Date sampled | Type of test | Results (pCi/L)
Banks Middle School | Main Building | Office Lobby | 521865 | 2022-12-05 | Detector Kit | 0.7
Banks Middle School | Main Building | Nurse Rm | 507429 | 2022-12-05 | Detector Kit | 0.4
Banks Middle School | Main Building | Vice P Rm | 520279 | 2022-12-05 | Detector Kit | 2.1
Banks Middle School | Main Building | Principal | 520909 | 2022-12-05 | Detector Kit | 0.5
Banks Middle School | Main Building | Isolation Rm | 520196 | 2022-12-05 | Detector Kit | 0.8
Banks Middle School | Main Building | Copier Rm | 520439 | 2022-12-05 | Detector Kit | 0.2
Banks Middle School | Main Building | Rm 109 | 521113 | 2022-12-05 | Detector Kit | Void
Banks Middle School | Main Building | Rm 109 Office | 517566 | 2022-12-05 | Detector Kit | 0.7
Banks Middle School | Main Building | Rm 114 | 519770 | 2022-12-05 | Detector Kit | 0.8
Banks Middle School | Main Building | Rm 115 | 517683 | 2022-12-05 | Detector Kit | 0.8
Banks Middle School | Main Building | Rm 115 | 507637 | 2022-12-05 | Detector Kit | 1.2
Banks Middle School | Main Building | Rm 116 | 520156 | 2022-12-05 | Detector Kit | 0.3
Banks Middle School | Main Building | Rm 120 | 517716 | 2022-12-05 | Detector Kit | 0.3
Banks Middle School | Main Building | Rm 121 | 520430 | 2022-12-05 | Detector Kit | 0.4
Banks Middle School | Main Building | Counselor Office | 517908 | 2022-12-05 | Detector Kit | 0.5
Banks Middle School | Main Building | Staff Rm 130 | 517647 | 2022-12-05 | Detector Kit | 0.5
Banks Middle School | Main Building | Library Rm 133 (1) | 507502 | 2022-12-05 | Detector Kit | Void
Banks Middle School | Main Building | Library Rm 133 (2) | 519799 | 2022-12-05 | Detector Kit | 0.6
Banks Middle School | Main Building | Library Office | 507494 | 2022-12-05 | Detector Kit | 0.2
Banks Middle School | Main Building | Music Rm 145--R | 520573 | 2022-12-05 | Detector Kit | 0.2
Banks Middle School | Main Building | Music Rm 145--F | 521138 | 2022-12-05 | Detector Kit | 0.2
Banks Middle School | Main Building | Music Rm 145--F | 517839 | 2022-12-05 | Duplicate | 0.5
Banks Middle School | Gymnasium | Boys locker rm | 517898 | 2022-12-05 | Detector Kit | 0.8
Banks Middle School | Gymnasium | Girls PE Office | 520412 | 2022-12-05 | Detector Kit | 0.7
Banks Middle School | Gymnasium | Gym (1) L | 520907 | 2022-12-05 | Detector Kit | 0.7
Banks Middle School | Gymnasium | Gym (2) R | 514890 | 2022-12-05 | Detector Kit | 0.5
Banks Middle School | Gymnasium | Gym Office | 507558 | 2022-12-05 | Detector Kit | 0.7
Banks Middle School | Main Building | Cafeteria (1) | 512060 | 2022-12-05 | Detector Kit | 0.4
Banks Middle School | Main Building | Cafeteria (2) | 507400 | 2022-12-05 | Detector Kit | 0.4
Banks Middle School | Main Building | Blank | 520138 | 2022-12-05 | Duplicate | -0.1
Banks Middle School | Main Building | Blank | 517712 | 2022-12-05 | Blank | 0.2
Banks Middle School | Main Building | Office 103 | 507517 | 2022-12-05 | Spike | 42
Banks Middle School | Main Building | Office 104 | 507515 | 2022-12-05 | Spike | 44.2
Banks Middle School | Main Building | Rm 109 | 517825 | 2022-12-05 | Retest | 0.1
Banks Middle School | Main Building | Library Rm 133 (1) | 517863 | 2022-12-05 | Retest | 0.1

## High School
Radon Testing Results - |  | Banks High School
Action Level is 4.0 pCi/L
Site Name | Building Name | Room Description (per floor plan) | Kit serial # | Date sampled | Type of test | Results (pCi/L)
Banks High School | Main Building | Rm 1 | 515163 | 2022-12-06 | Detector Kit | 1.8
Banks High School | Main Building | Rm 3 | 517598 | 2022-12-06 | Detector Kit | Void
Banks High School | Main Building | Rm 4 | 521095 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 5 | 517867 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 6 | 515637 | 2022-12-06 | Detector Kit | 0.4
Banks High School | Main Building | Rm 7 | 507438 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 9 | 515200 | 2022-12-06 | Detector Kit | 0.4
Banks High School | Main Building | Rm 8 (1) | 517577 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 8 (2) | 521024 | 2022-12-06 | Detector Kit | 0.2
Banks High School | Main Building | Library Work Rm | 517814 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Library Work Rm (D) | 520414 | 2022-12-06 | Duplicate | 0.5
Banks High School | Main Building | Library Work Rm Office | 517817 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Rm 10 Office | 517643 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 10 (1) | 517860 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 10 (2) | 517861 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Cafeteria | 517812 | 2022-12-06 | Detector Kit | Void
Banks High School | Main Building | Cafeteria Staff | 517861 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Staff Break Rm | 517676 | 2022-12-06 | Detector Kit | 0.9
Banks High School | Main Building | Rm 11D | 520411 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Kitchen Office | 520995 | 2022-12-06 | Detector Kit | 0.8
Banks High School | Main Building | Rm 12 | 521025 | 2022-12-06 | Detector Kit | 0.5
Banks High School | Main Building | Rm 12 (D) | 517666 | 2022-12-06 | Detector Kit | 0.3
Banks High School | Gymnasium | Gym SE | 517850 | 2022-12-06 | Detector Kit | 1.3
Banks High School | Gymnasium | Gym NE | 517657 | 2022-12-06 | Detector Kit | Void
Banks High School | Gymnasium | Girls Coach Office | 519775 | 2022-12-06 | Detector Kit | 3
Banks High School | Gymnasium | Boys Coach Office | 517884 | 2022-12-06 | Detector Kit | 5.3
Banks High School | Main Building | Rm 16 Main | 515364 | 2022-12-06 | Detector Kit | Void
Banks High School | Main Building | Rm 16D | 517873 | 2022-12-06 | Detector Kit | 0.3
Banks High School | Main Building | Rm 16B | 517809 | 2022-12-06 | Detector Kit | 0.8
Banks High School | Main Building | Rm 16A | 507535 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Rm 17 | 521091 | 2022-12-06 | Detector Kit | 0.4
Banks High School | Main Building | Rm 18N | 517560 | 2022-12-06 | Detector Kit | 1.2
Banks High School | Main Building | Rm 18N (D) | 507476 | 2022-12-06 | Duplicate | 0.9
Banks High School | Main Building | Rm 18S | 512083 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Concessions | 517875 | 2022-12-06 | Detector Kit | 1.7
Banks High School | Main Building | Rm 19 | 507495 | 2022-12-06 | Detector Kit | 0.3
Banks High School | Main Building | Rm 20 | 507423 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Rm 22 | 517913 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Rm 24 | 507480 | 2022-12-06 | Detector Kit | 0.9
Banks High School | Main Building | Rm 23 | 507633 | 2022-12-06 | Detector Kit | 0.3
Banks High School | Main Building | Rm 26 | 507421 | 2022-12-06 | Detector Kit | 0.6
Banks High School | Main Building | Rm 26B | 507505 | 2022-12-06 | Detector Kit | 0.2
Banks High School | Main Building | Rm 26 Office | 507504 | 2022-12-06 | Detector Kit | 0.4
Banks High School | Main Building | Rm 26 Office (D) | 507541 | 2022-12-06 | Duplicate | 0.2
Banks High School | Main Building | Rm 25 | 519776 | 2022-12-06 | Detector Kit | -0.1
Banks High School | Main Building | Rm 27 | 507527 | 2022-12-06 | Detector Kit | 0.2
Banks High School | Shop Building | Wood Shop Mid | 520437 | 2022-12-06 | Detector Kit | 0.9
Banks High School | Shop Building | Metal Shop | 507531 | 2022-12-06 | Detector Kit | 0.7
Banks High School | Main Building | Rm 30 | 507496 | 2022-12-06 | Detector Kit | 1.6
Banks High School | Main Building | Rm 31B | 521028 | 2022-12-06 | Detector Kit | 1.2
Banks High School | Main Building | Rm 31A | 507470 | 2022-12-06 | Detector Kit | 1.6
Banks High School | Main Building | Rm 31 | 517827 | 2022-12-06 | Detector Kit | 1.5
Banks High School | Main Building | Office Lobby | 507501 | 2022-12-06 | Detector Kit | 1.3
Banks High School | Main Building | Rm 32A | 507544 | 2022-12-06 | Detector Kit | 2.3
Banks High School | Main Building | Rm 32B | 520413 | 2022-12-06 | Detector Kit | 2
Banks High School | Main Building | Rm 32B (D) | 507512 | 2022-12-06 | Duplicate | 1.6
Banks High School | Main Building | Rm 32C | 507410 | 2022-12-06 | Detector Kit | 2.5
Banks High School | Main Building | Rm 32D | 507546 | 2022-12-06 | Detector Kit | Void
Banks High School | Main Building | Rm 32E | 507425 | 2022-12-06 | Detector Kit | 1.5
Banks High School | Main Building | Rm 32H | 507516 | 2022-12-06 | Detector Kit | 1.8
Banks High School | Main Building | Rm 32F | 507422 | 2022-12-06 | Detector Kit | 1.3
Banks High School | Main Building | Rm 32G | 520518 | 2022-12-06 | Detector Kit | 1.7
Banks High School | Wrestling Building | Wrestling N | 517686 | 2022-12-06 | Detector Kit | 1.3
Banks High School | Wrestling Building | Wrestling Office | 517911 | 2022-12-06 | Detector Kit | 1.1
Banks High School | Wrestling Building | Wrestling S | 507452 | 2022-12-06 | Detector Kit | 0.6
Banks High School | Main Building | Blank | 517698 | 2022-12-06 | Blank | 0.2
Banks High School | Main Building | Blank | 517958 | 2022-12-06 | Blank | 0.2
Banks High School | Main Building | Blank | 617822 | 2022-12-06 | Blank | 0
Banks High School | Main Building | HS Office 106 | 507523 | 2022-12-06 | Spike | 39.4
Banks High School | Main Building | HS Office 107 | 507420 | 2022-12-06 | Spike | 44.4
Banks High School | Main Building | HS Office 108 | 507402 | 2022-12-06 | Spike | 43.3
Banks High School | Main Building | HS Office 109 | 507508 | 2022-12-06 | Spike | 38.9
Banks High School | Main Building | Rm 3 | 517841 | 2022-12-19 | Retest | 0.3
Banks High School | Main Building | Cafeteria | 517643 | 2022-12-19 | Retest | 0.1
Banks High School | Gymnasium | Gym NE | 507497 | 2022-12-19 | Retest | 0.3
Banks High School | Main Building | Rm 16 Main | 520435 | 2022-12-19 | Retest | 0.3
Banks High School | Main Building | Rm 32D | 515648 | 2022-12-06 | Retest | 2.1
Banks High School | Gymnasium | Boys Coach Office | 517871 | 2023-01-03 | Retest | 1.5

## District Office
Radon Testing Results - |  | Banks District Office
Action Level is 4.0 pCi/L
Site Name | Building Name | Room Description (per floor plan) | Kit serial # | Date sampled | Type of test | Results (pCi/L)
Banks District Office | Main Building | Maintenance Office | 507442 | 2022-12-06 | Detector Kit | 1
Banks District Office | Main Building | Computer Rm | 507440 | 2022-12-07 | Detector Kit | 3.3
Banks District Office | Main Building | Conf Rm 1 | 507499 | 2022-12-08 | Detector Kit | 1.1
Banks District Office | Main Building | Conf Rm 2 | 502912 | 2022-12-09 | Detector Kit | 1.4
Banks District Office | Main Building | Blank | 517897 | 2022-12-10 | Blank | 0.2
Banks District Office | Main Building | Office 105 | 507521 | 2022-12-11 | Spike | 34.7
Banks District Office | Main Building | Maintenance Shop | 517840 | 2022-12-12 | Detector Kit | 0.2